## Slide 1
Antenna & Conditioning
Energy Harvesting
Power Delivery
Alternative Source
Collects and conditions RF signals
Manages Solar
& Thermoelectric source
Converts RF signals to power
via Powercast IC
Controls, monitors, and delivers power to insulin pump

## Slide 2
1) RF Signal Sources
2) Signals Received to belt
Rectifier Noise  DC
Combine Signals
3) Signals Conditioned
Modulate to 900Mhz
4) Energy Harvested
Powercast IC
5) Power Conditioned
Power Controls
Power Monitor
Solar or Thermo-
electric Backup Energy Source

## Slide 3
Cellular Receiving Signals (-90dbm)
Cellular Transmit Signals (36dbm)
Wifi Signal Receiving (-60dbm)
Solar or Thermo-
electric Backup Energy Source
Energy Sources
50 Ω antenna;
0.158m Cu wire
50 Ω antenna;
0.158m Cu wire
50 Ω antenna;
0.059m Cu wire
Signal Conditioning
Rectifier
Diode + Capacitor (nF)
Rectifier
Diode + Capacitor (nF)
Rectifier
Diode + Capacitor (nF)
DC Voltage Combination
Frequency Modulation IC to 900Mhz
Microprocessor Controller
Load Conditioning
Storage
Solar
RF Energy
Mobile App NFC Monitor
Power Monitor
Source/Load Impedance Controller
Hardwire Connection
5V Insulin Pump (load)
Power Regu-lator
Control Voltage w/ output Resistor
Energy Harvesting - PowerCast IC